## Sheet1
PLMTC EMPLOYEE WEEKLY PLAN FORM
NAME: | Muhyammad Ashraf |  |  | Department: |  | Maitenance | Date of Joining: 16 March,2020
DESIGNATION: |  | Trainee Engineer |  | Date: | 3rd Jan, 2021 |  | Appraisal Period:
Current / Last Drawn Salary PKR/PM: 35000 |  |  |  | Superior leader：Mr. Zhang Kai
Working Summary for this Week
Period |  |  | 2020/12/28-2021/1/3
Sr. No. | Te | [6 empty] | Remarks
1 | Maintenance site for Lahore North II bay of AC yard,Learned Lightning arrester megger test in warehouse | [6 empty] | 0
2 | Obsered the dielectric loss test and insulation resistance test of CVT in test yard
3 | Obsered the dielectric loss test, insulation resistance test and turns ratio test of CT in test yard | [6 empty] | 0
4 | Manual Study in office
5 | manual Study in office
6 | visited converter transformer site and measure the temprature of 35kV station transformer using infrared camera
7 | visited maintenance site of Ac yard isolators and visited transformer oil testing lab | [6 empty] | 0
Working Plan for next Week
Period |  |  | 2021/1/4-2021/1/10
Sr. No. | Work Description | [6 empty] | Remarks
1 | [7 empty] | 0
2
3 | [7 empty] | 0
4 | [7 empty] | 0