## Slide 1: Function of Bipole Level
The functions of the Bipole Level are implemented in the DC Station Control host to provide pole DC power orders to the pole control hosts of both poles.
DC power orders are distributed to the pole control hosts of each pole according to the Bipole DC power orders issued by the HMI system, additional control, current balance control of double poles, emergency pole-pole power transfer and other factors.
The DC station control host is also responsible for relevant sequence controls, Reactive power control and AC bus voltage control of the whole system.