## Sheet1
PLMTC EMPLOYEE WEEKLY PLAN FORM
NAME: | Muhammad Shamaas |  |  | Department: |  | Maitenance | Date of Joining: 20 November,2020
DESIGNATION: |  | Trainee Engineer |  | Date: | 3rd Jan, 2021 |  | Appraisal Period: |  | 2 years
Current / Last Drawn Salary PKR/PM: 35000 |  |  |  | Superior leader：Mr. Zhao Hang
Working Summary for this Week
Period |  |  | 2020/12/28-2021/1/3
Sr. No. | Work Description | [6 empty] | Remarks
1 | Visited Maintenance site for Lahore North II bay of AC yard,Learned Lightning arrester megger test in warehouse | [6 empty] | 0
2 | Obsered the dielectric loss test and insulation resistance test of CVT in test yard
3 | Obsered the dielectric loss test, insulation resistance test and turns ratio test of CT in test yard | [6 empty] | 0
4 | Self Study of Operation and Maintenance Manual
5 | Self Study of Operation and Maintenance Manual
6 | Visited converter transformer site and measure the temprature of 35kV station transformer using infrared camera
7 | Visited maintenance site of Ac yard isolators and visited transformer oil testing lab | [6 empty] | 0
Working Plan for next Week
Period |  |  | 2021/1/4-2021/1/10
Sr. No. | Work Description | [6 empty] | Remarks
1 | Self Study of Operation and Maintenance manual | [6 empty] | 0
2 | Visit Converter Transformer site and Oil Testing Laboratory for oil testing
3 | Visit AC Yard maintenance site for observing Isolator and Grounding switch Maintenance | [6 empty] | 0
4 | Visit Equipment Testing Yard for observation of Tests | [6 empty] | 0