Training Schedule for PMLTC New-coming Employees

（May 15th, 2020）

| Key |  |
| --- | --- |
| Completed |  |
| Scheduled |  |

| Schedule | Category | Topics | Contents | Training type | Hours |
| --- | --- | --- | --- | --- | --- |
| 15th May 2:00PM-5:30PM | 直流输电系统 Fundamentals of high-voltage direct-current (HVDC) transmission | 1.1 Opening Ceremony | 1) Overview and arrangement of the training. 2)Profile of State Grid Corporation of China (sgcc)&China electric Power & Equipment and Technology Co.LRD(CET)，Brief on Matiari Lahore Transmission Project | 专家讲授 Expert lecturing |  |
| 18th May 9:00AM-12:00PM BREAK 2:00PM-5:30PM | 直流输电系统 Fundamentals of high-voltage direct-current (HVDC) transmission | 1.2 General concept, feature and application | - 直流输电的概念 Concept of HVDC - 直流输电技术应用 Application of HVDC - 新型直流输电技术特点及其应用 New technologies of HVDC and their application | 专家讲授 Expert lecturing | 6-9 |
| 19th May 9:00AM-12:00PM BREAK 2:00PM-5:00PM |  | 1.3特高压直流输电基本原理介绍 Power conversion theory | - 换流原理(六脉动换流原理) Rectifying and inverting of six-pulse converter - 电压控制与功率控制 Control of voltage and power | 专家讲授 Expert lecturing | 4-6 |
| 20th May 9:00AM-12:00AM BREAK 2:00PM-5:00PM ……. 21st May 9:00AM-12:00PM BREAK 2:00PM-5:30PM |  | 1.4直流设备与系统运行方式介绍 Main circuit, equipment, and operation | - 默拉直流换流站主接线、换流站设备分区与布局 Main circuit, single line diagram, converter station layout - 默拉直流换流站设备配置 Equipment configuration - 直流输电系统运行方式 Operation modes | 专家讲授 Expert lecturing | 6-9 |
| 22nd May 9:00AM-12:00PM BREAK 2:00PM-5:30PM 28th May 9:00AM-12:00PM BREAK 2:00PM-5:30PM …….. 29th May 9:00AM-12:00PM BREAK 2:00PM-5:30PM | 换流站一次设备 Main circuit equipment of HVDC converter station | 2.1换流站一次设备及辅助设备 Main circuit equipment and auxiliary system | - 换流阀 Thyristor valve - 换流站阀水冷系统 Cooling system of thyristor valves - 换流变压器 Converter transformer - 直流场设备 DC yard equipment - 交直流测量装置 DC/AC measurement equipment - 站用电系统 Auxiliary service system - 阀厅空调系统 Valve hall air conditioning system - 消防系统 Fire detection and extinguish system - 给排水系统 Water drainage system | 专家讲授 Expert lecturing | 27 |
| 1st June 9:00AM-12:00PM BREAK 2:00PM-5:30PM …… 2nd June 9:00AM-12:00PM BREAK 2:00PM-5:30PM ……. 3rd Jun 9:00AM-12:00PM BREAK 2:00PM-5:30PM …… 4th Jun 9:00AM-12:00PM BREAK 2:00PM-5:30PM | 换流站二次设备 Secondary equipment of HVDC converter station | 2.2换流站二次设备介绍 Secondary equipment | - 直流控制与保护基本原理 Basic theory of HVDC protection and control - HCM3000直流控制与保护装置 HVDC control and protection system – HCM3000 - SCADA系统 Supervisory control and data acquisition (SCADA) - 交流保护装置及基本原理 Basic theory of AC protection and relays - 控制、保护、测量屏柜指示灯释义 Indication of panels of control, control and measurement | 专家讲授 Expert lecturing | 20 |