Lahore Converter Station Examination Paper for Trainee Engineers

Name: 					Total Marks: 100			Obtained Marks:

1. Fill in the Blanks.

- The insulation of devices is checked by using ___________

- AC is abbreviated as ______

- Transformer Overall Differential Protection is a _____ protection.

- DC is abbreviated as ______

- PAC-886 works on the logic _______

- TFR is abbreviated as ______

- Overvoltage protection is a _____ protection.

- MMI is abbreviated as ______

- Instantaneous Differential protection works for _______ and biased differential protection works for ______

- SER is abbreviated as _______

- Dry contact includes rated Voltage _____ and rated Current as ______

- Transformer Over Current is coded as ______

- GOOSE stands for ______

- In the Front Panel layout, the green signal lights indicate ________

- The zone of converter transformer compromises conductor and all equipment from the __________ connected to the Grid side to the _________ on the valve side.

- The Trip circuit relay verification operated at _______ of the rated Voltage.

- _______ is the main protection as well as the backup protection.

- In the Front Panel layout, the red signal lights indicate_________.

- Over Voltage is coded as _______

- Transformer Overload protection is coded is ______

2. Write the short answers of the following question:

- Draw a single line diagram of the AC yard (500 KV only).

- Define a Converter Transformer and its types.

- Describe the function of the protection of Converter Transformer. Name 3 types.

- Describe the zero Sequence Differential Protection(87CN)

- Differentiate between “two out of three” and “one out of two” tripping logic.

- Describe the Non-Electric Quantity System of converter Transformer.

- What is Fiber Inspection.